Applications of Imaging Matrix Assisted Laser Desorption Ionisation - Mass Spectrometry to the Study of Dermal Absorption of Isocyanates 

Brendan Prideaux 1, Malcolm R. Clench 1, Vikki A. Carolan1, Jackie Morton2
and Bob Rajan-Sithamparanadarajah3 

1Biomedical Research Centre, School of Science and Mathematics, Sheffield Hallam University, Howard Street, Sheffield, S1 1WB, UK.

2 Health and Safety Laboratory, Buxton, SK17 9JN, UK.

3 Health and Safety Executive, Bootle, L20 7HS, UK
Isocyanates are commonly used in industry in the manufacture of polyurethane products such as foams, paints and plastics. They are highly reactive compounds, known to produce adverse effects in humans after exposure[1+2]. Dermal exposure is of particular concern although the mechanisms of this are poorly understood.

In the work described here the dermal penetration of isocyanates was investigated using Matrix Assisted Laser Desorption Ionisation - Time of Flight - Mass Spectrometry.  MALDI-TOF-MS has been previously used to investigate such low molecular weight compounds present in skin[3]. Imaging software enables the distribution of the analytes in the skin to be observed, and thus any dermal penetration to be detected.

All analyses were conducted using an Applied Biosystems “Q-Star” hybrid quadrupole instrument, fitted with an orthogonal MALDI ion source. 50 µl of a range of isocyanate compounds including hexamethylene diisocyanate (HDI) and toluene diisocyanate (TDI) were pipetted directly onto porcine ear tissue surface. Isocyanates were applied at a range of concentrations in dimethyl sulfoxide and acetonitrile. Tissue samples were incubated and blotted onto cellulose membranes. Imaging software, supplied by MDS Sciex, was utilised to process the data and provide images of isocyanate distribution on the membrane surfaces. An ‘on-membrane’ alcohol derivatisation process is presented. The distribution of the protonated molecule of an alcohol derivative of each isocyanate was used to generate images of the distribution of the isocyanate on the tissue surface and in vertical skin sections. Preliminary results have shown that it is possible to observe the qualitative penetration of isocyantes through the skin. Analytes have been observed reaching a penetration depth of 1.5mm following exposure at various time points. 

[1] Coz, C.J., El Aboubi, S., Ball, C. Contact Dermatitis. 1999, 41 104-105

[2] Goossens, A., Detienne, T., Bruce, M. Contact Dermatitis. 2002, 47 304-308
[3] Bunch, J.; Clench, M. R.; Richards, D. S. Rapid Comm. Mass Spec. 2004, 18 3051

